## Slide 1: OPC Unified Architecture A Platform for Automation The Power of Context
LCCC Process Control Workshop
Lund University
Dave Emerson
Director, U.S. Technology Center
Yokogawa

## Slide 2
Context
Context
  The circumstances that form the setting for an event, statement, or idea, and in terms of which it can be fully understood..
    (oxforddictionaries.com)
Where is context hiding?
Notes: For example a temperature profile over time requires contextual information about the equipment and process it was collected from to be truly useful.
In the past this contextual information was kept in people’s minds.
Look at your historian’s temperature data, it may have a tag, temperature values at different times and maybe some data quality information.
To make full use of the temperature profile requires an operator or engineer familiar with the process unit, this is because the contextual data was in the person’s mind. In essence the loss of this contextual information cripples data that was collected and stored.

## Slide 3
Trend & Event Data Contains Little Context
A mental model is required
Notes: Temperature plot, xy – tag TI-940
Descriptor – bottoms temp
Operator – experience, DCS HMI, some training tells him
  where the physical measurement point is, the type of unit and piping involved, past performance, remember when severe weather went through,…
  Each operator may have a similar, but different mental model
Process and Automation Engineers
  Understands chemistry involved with the fluid in the pipe, processing that goes on up and down stream from the measurement,
Manager
  Knows production rate, product value, committee deliveries, raw materials used, cost data,…
Maintenance
  Knows last time the transmitter was calibrated, replaced, serviced,... Maybe knows corrosion status of pipes in the area,…
No one can and need to know everything
  But to make some critical decisions everyone needs to be in a meeting to discuss what to do and when
    How can computer systems have this type of meeting?

## Slide 4
P&IDs Add Context
but are isolated documents
That are rarely maintained

## Slide 5
Operators are shown context
but must be manually designed and maintained

## Slide 6
Process Models contain context
but must be manually designed and maintained
Notes: Now imagine an employee leaves, retires or whatever, how does a new employee learn the context that left?
  On the job training – mostly
  Depending upon the individuals the new person could be better, eventually – or he may know different things

## Slide 7
Plant Lifecycles Create & Lose Context
Planning
Design
Procure
Construct
Com-mission
Operate
Decom-mission
Each lifecycle phase creates context that is not available to downstream phases

## Slide 8
Silos Horde Context
Interoperability is required
vertical silos must interoperate

## Slide 9
Context Dissipates
Computer files, documents, mental models
are forgotten, fade, become dated,…
Notes: Context is complex & never ending
Preserving all context is a huge, overwhelming, task
Context is held in the heads of plant personnel
  It is mental models
  Some mental models are better than others
No one can know everything
PDFs are a great way to lose context
Computer actionable data formats are needed
To share and re-use context interoperable, actionable, data formats are needed
ETL = Extract, Transform, Load
  Indicator that context is hard to maintain

## Slide 10
Context’s Value is Increasing
Big data, machine learning, AI
Will require context
How do we preserve it?

## Slide 11
Preserving Context
Interoperable & computer actionable data formats

## Slide 12
Preserving Context
Semantic processing

## Slide 13
Preserving Context
Federated systems
discovering & sharing context

## Slide 14
Preserving Context with OPC UA
What is OPC-UA? OPC-UA in a minute
https://www.youtube.com/watch?v=TFhqJQwLy7E
IEC 62541
Notes:   Ability to create multiple information models using common data
  Ability for information models to discover and browse each other
  Open, industrialized communications with built in security

## Slide 15
Open Data Connectivity
Connectivity Standards
Protocols
3 Key OPC UA Highlights

## Slide 16
Ground-Up Secure Design
Based on latest security standards
Accepted by IT and OT groups
Recognized for its security by key organizations:
  NIST
  Industrie 4.0
  Oil & Gas Majors (MDIS)
Data Security
3 Key UA Highlights

## Slide 17
Data Context Preservation
OPC UA
3 Key UA Highlights
Notes: Data modeling preserves source context
  Products expose structured view
Extendable: new protocols welcome (Companion Specifications)
  BACNet
  MDIS (Subsea standard)
  Others…
UA Clients learn about data structure from devices

## Slide 18
Services & Information Models
OPC UA Meta Model
Built-in Information Models
Client/Server
Services
Protocols
Pub-Sub
Services
PubSub Configuration
Connections
MessageWriters
Protocols
UA Secure Multicast
(AMQP, MQTT, DDS, REST…)

## Slide 19
Services & Information Models
OPC UA Meta Model
Built-in Information Models
Companion
Information Models
Vendor Specific Extensions
Client/Server
Services
Protocols
Pub-Sub
Services
PubSub Configuration
Connections
MessageWriters
Protocols
UA Secure Multicast
(AMQP, MQTT, DDS, REST…)

## Slide 20
OPC Foundation Collaboration
OPC UA Meta Model
Built-in Information Models
Companion
Information Models
Vendor Specific Extensions
Client/Server
Services
Protocols
Pub-Sub
Services
PubSub Configuration
Connections
MessageWriters
Protocols
UA Secure Multicast
(AMQP, MQTT, DDS, REST…)
OPC Foundation collaborates with organizations and domain experts
OPC UA defines HOW
Domain experts define WHAT
Notes: Standards bodies, like the standards they create, can not be an island in todays every more tightly digitized and integrated world. Leading the charge, OPC Foundation started collaboration with various organizations over 10 years ago and is not being increasingly approached by other organizations to form new relationships… the family is growing!

## Slide 21
Information Model Notation

## Slide 22
Information Model Example

## Slide 23
Sample Base Object Hierarchy

## Slide 24
OPC UA
OPC UA
OPC UA
OPC UA
HMI
MES
PLCopen Collaboration
61131-3 Software Model mapped to OPC UA Information Model
PLC Data provided as UA Server
OPC UA Communication Function Blocks like Connect, Read, Call
PLC as OPC UA Client
OPC UA for IEC 61131-3 (PLCopen)

## Slide 25
Industry Working Group
Joint Team of
Major oil companies
Major DCS vendors
Major Subsea vendors
Defined an industry standard information model
Communication between silos
OPC UA for
communication between
Subsea Production
and
DCS Systems
MDIS – Oil &Gas Industry

## Slide 26
Version 1.0 Released in October 2013
ISA 95 defines a model for Enterprise/Control System integration
OPC UA mapping for ISA 95 Resources Models
Role based equipment
Physical asset
Personnel
Material
Modeling Target
Production Activity
Capacity Definition
Production Definition
Production Schedule
Production Performance
Logical View of Resources
Process Segment
Object Models
Resources
Role Based Equipment
Physical Asset
Personnel
Material
Common Object Model
UA for ISA 95 Common Object Model

## Slide 27
MIMOSA Companion Specification
OPC UA
Implementation of
MIMOSA’s Asset
Information Model
(CCOM)
Will bring asset management capabilities to OPC UA compatible systems
Work starting 2016

## Slide 28
Preserving Context with OPC UA
Profiles for different use cases
Scalability
Integration into embedded systems
MES and ERP systems
Specialized versions for different industries
New Applications and Use Cases
UA is IEC standard 62541
UA is base for industry & vendor information models
Collaboration is win-win
  Industry groups use open, proven base services
  OPC UA users can access more domains
Collaboration
Generic object-oriented modeling
Objects with variables, methods and events
Extensible type system
History for data and events
State machines, programs, alarms & condition
Complex data
Data Modeling
Integrated security mechanisms
High speed UA TCP protocol
Web services for Internet
Platform independent
Built-in robustness and fault tolerance
Redundancy
Scalable from chips to clouds
Communication